Data Details – Training / Validation / Test Datasets

System: Medical Reports Analysis System (OMI)

Provider: SkyHighGrowth Inc. (SHG)

AI Component: SHG Proprietary AI Model

Document date: 2025-11-10

1. Purpose & Scope

This document describes datasets used to develop, validate, and evaluate the Medical Reports Analysis System. The system ingests de-identified patient medical reports and extracts structured fields for downstream analytics and Excel export.

2. Dataset Inventory

| Split | Source/Owner | Content/Modality | Volume (docs) | Label Schema | Collection Period |
| --- | --- | --- | --- | --- | --- |

3. Data Provenance & Governance

• All datasets are provided as de-identified data. No PHI/PII is processed.
• De-identification uses Safe Harbor or Expert Determination consistent with HIPAA.
• Access controls are enforced at storage and pipeline levels; all transfers are encrypted in transit and at rest.
• Dataset lineage is tracked in the data registry with unique dataset IDs and immutable hashes for snapshots.

4. Sampling & Splitting Strategy

• Stratified split by cancer subtype, report template, and document modality to avoid leakage.
• Patient-level grouping ensures all reports from a patient occur in a single split.
• Versioned split manifests stored in repository (e.g., data/splits/vX.Y).

5. Labeling & QA

• Label schema follows OMI’s predefined specifications (e.g., T, N, M, Grade, biomarkers).
• Dual-review labeling on ambiguous fields; adjudication protocol for conflicts.
• Periodic label drift audits; inter-annotator agreement reported (κ).

6. Preprocessing & Augmentations

• OCR normalization (fonts, skew, noise), clinical lexicon normalization, templated phrase handling.
• Augmentations for robustness (OCR noise, low DPI, watermarks) applied only to training.
• All transforms are deterministic and logged with seeds and versions.

7. Data Minimization & Retention

• Only fields required for extraction are retained and logged.
• Retention schedules align with contractual commitments; secure deletion on termination.
• Periodic reviews ensure adherence to minimization.

8. Risks & Mitigations

• Residual re-identification risk: mitigated via strict de-identification and access controls.
• Bias in report templates: mitigated via stratified sampling and targeted data collection.
• Domain drift: monitored via post-market telemetry and dataset refresh triggers.