Provider Instructions – Safe Operation & Responsibilities

System: Medical Reports Analysis System (OMI)

Provider: SkyHighGrowth Inc. (SHG)

AI Component: SHG Proprietary AI Model

Document date: 2026-01-24

Before Use

Ensure only de-identified inputs. Validate access control configurations, encryption at rest/in transit, and logging. Confirm reviewers are trained on UI and oversight procedures.

During Operation

Monitor dashboards and alerts. Use reviewer workflows for low-confidence outputs. Keep audit trails and justifications for corrections and overrides.

After Updates

Follow change board process. Validate KPIs and robustness before release. Update transparency notice and documentation; record lifecycle changes and evidence links.

Incident Response

Report security incidents within SLA; perform RCA; implement CAPA and verify remediation. Communicate material issues to stakeholders.